{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["办公楼清单","车间瓷砖"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"办公楼清单","index":0,"n_rows":333,"n_cols":8,"rows_kept":333,"merged":[[0,0,0,6],[34,3,34,4],[45,3,45,4],[52,3,52,4],[66,3,66,4],[74,3,74,4],[80,3,80,4],[91,3,91,4],[102,3,102,4],[111,3,111,4],[112,2,112,4],[126,3,126,4],[139,3,139,4],[148,3,148,4],[159,3,159,4],[168,3,168,4],[176,3,176,4],[185,3,185,4],[186,2,186,4],[201,3,201,4],[215,3,215,4],[224,3,224,4],[236,3,236,4],[259,3,259,4],[274,3,274,4],[292,3,292,4],[302,3,302,4],[314,3,314,4],[321,3,321,4],[330,3,330,4],[331,2,331,4],[333,2,333,4],[334,2,334,4],[335,2,335,4],[336,2,336,4],[337,2,337,4],[338,2,338,5],[339,2,339,5]],"flags":["formulas_cached_only"]}
["办公楼装修清单"]
["序号",null,"单位"," 数量"," 综合单价","单项合价","备注说明"]
[null,"一层"]
["一","一楼大厅"]
[1,"门厅感应玻璃门","平米",18.5,null,null,"定制感应玻璃门"]
[2,"大厅感应玻璃门","平米",18.7,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"门厅玻璃隔断","平米",37.4,null,null,"双层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[4,"大厅玻璃隔断","平米",33,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[5,"分区肯德基玻璃门","平米",4.8,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[6,"地面瓷砖及贴砖","平米",263.8,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[7,"石膏板吊顶","平米",138.9,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[8,"门厅柱子打底找平","平米",18.2,null,null,"欧松板，石膏板打底找平。",120]
[9,"木纹方通吊顶","平米",124.9,null,null,"成品木纹方通，材料及人工费用。",220]
[10,"顶面基层处理及乳胶漆","平米",263.8,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[11,"墙面基层处理及乳胶漆","平米",507.6,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[12,"楼梯底面基层处理及乳胶漆","平米",36,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[13,"大厅形象墙造型","平米",40.8,null,null,"按效果图施工，木工板，木龙骨，石膏板做造型"]
[14,"大厅柱子打底找平","平米",180.2,null,null,"欧松板，石膏板打底找平。",120]
[15,"大厅墙面找平","平米",308,null,null,"欧松板，石膏板打底找平。",120]
[16,"电梯口墙面木纹方通造型","平米",21.6,null,null,"定制木纹方通。"]
[17,"电梯门套","米",7.1,null,null,"大理石加工电梯门套及安装",360]
[18,"墙面壁画基础造型","平米",71.4,null,null,"木工板，木龙骨，石膏板做造型",120]
[19,"墙面壁画造型","平米",51,null,null,"木纹线条造型，壁画"]
[20,"柱子灯箱造型","平米",43.2,null,null,"成品木饰面定制、配套收口条、定制灯箱画，安装人工工费。"]
[21,"二楼灯箱造型","平米",32.4,null,null,"成品木纹方通、配套收口条、定制灯箱画，安装人工工费。"]
[22,"三楼玻璃隔断","平米",28.4,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[23,"楼梯柱子造型","项",1,null,null,"木工板，木龙骨，石膏板做圆柱造型"]
[24,"楼梯加宽","项",1,null,null,"钢架结构，花纹钢板及人工"]
[25,"楼梯踏步石材","平米",76.8,null,null,"大理石加工楼梯踏步及安装"]
[26,"楼梯扶手","米",21.8,null,null,"12MM热弯钢化玻璃，成品铝合金楼梯扶手加工"]
[27,"接待台","米",5.8,null,null,"按效果图施工，木工板，奥松板，喷漆工艺"]
[28,"窗台板","米",39.6,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[29,"窗套","米",11.2,null,null,"成平窗套安装及辅料。"]
[30,"踢脚线","米",68,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二","一楼试饮区"]
[1,"肯德基玻璃门","平米",10.2,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"玻璃隔断","平米",35.8,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",140.4,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",140.4,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"顶面基层处理及乳胶漆","平米",140.4,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",116.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"窗套","米",17.4,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[8,"窗台板","米",6.6,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[9,"踢脚线","米",48,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["三","一楼过道"]
[1,"地面瓷砖及贴砖","平米",51.6,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[2,"石膏板吊顶","平米",51.6,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[3,"顶面基层处理及乳胶漆","平米",51.6,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[4,"墙面基层处理及乳胶漆","平米",94.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[5,"踢脚线","米",26.9,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["四","一层卫生间"]
[1,"哑口套","米",16.7,null,null,"与门同材质、成品垭口定制、安装人工工费及辅料。"]
[2,"卫生间门","套",2,null,null,"成品定制套装门，五金锁具安装及人工工费。"]
[3,"地面瓷砖及贴砖","平米",69.3,null,null,"品牌大理石瓷砖（600*1200）。沙子水泥、人工及辅料。"]
[4,"墙面瓷砖及贴砖","平米",180.6,null,null,"品牌大理石瓷砖（600*1200）。沙子水泥、人工及辅料。"]
[5,"洗面台","米",4,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[6,"水龙头","套",5,null,null,"箭牌卫浴，成品配套洁具。"]
[7,"洗手池","套",5,null,null,"箭牌卫浴，成品配套洁具。"]
[8,"隔断","平米",53.4,null,null,"成品防潮板现场加工，含五金配件，人工及辅料。"]
[9,"蹲便器","套",9,null,null,"箭牌卫浴，成品配套洁具。",960]
[10,"小便器","套",3,null,null,"箭牌卫浴，成品配套洁具。",880]
[11,"坐便器","套",2,null,null,"箭牌卫浴，成品配套洁具。",1800]
[12,"铝扣板吊顶","平米",69.3,null,null,"成品铝扣板吊顶，配套灯饰，安装人工工费及辅料。600*600"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["五","一层更衣室"]
[1,"门","套",1,null,null,"成品定制套装门，五金锁具安装及人工工费。（双开门配大铜拉手）"]
[2,"地面瓷砖及贴砖","平米",17.2,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[3,"石膏板吊顶","平米",17.2,null,null,"方管框架，石膏板、轻钢龙骨、人工及辅料。"]
[4,"顶面基层处理及乳胶漆","平米",17.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[5,"墙面基层处理及乳胶漆","平米",68.9,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"踢脚线","米",19.7,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["六","一层洗衣房"]
[1,"门","套",1,null,null,"成品定制套装门，五金锁具安装及人工工费。（双开门配大铜拉手）"]
[2,"地面瓷砖及贴砖","平米",50.8,null,null,"品牌大理石瓷砖（600*1200）。沙子水泥、人工及辅料。"]
[3,"墙面瓷砖及贴砖","平米",91.5,null,null,"品牌大理石瓷砖（600*1200）。沙子水泥、人工及辅料。"]
[4,"铝扣板吊顶","平米",50.8,null,null,"成品铝扣板吊顶，配套灯饰，安装人工工费及辅料。600*600"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["七","一楼研发中心"]
[1,"肯德基玻璃门","平米",10.2,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"玻璃隔断","平米",22.8,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",189.5,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",189.5,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"顶面基层处理及乳胶漆","平米",189.5,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",214.5,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"窗套","米",40.6,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[8,"窗台板","米",15.4,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[9,"踢脚线","米",61,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["八","一楼生产培训室"]
[1,"肯德基玻璃门","平米",12.8,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"玻璃隔断","平米",15.4,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",117.6,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",117.6,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"顶面基层处理及乳胶漆","平米",117.6,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",174.3,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"窗套","米",17.4,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[8,"窗台板","米",6.6,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[9,"踢脚线","米",49.8,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["九","综合"]
[1,"电路改造","平米",900,null,null,"众邦电线，穿线管，开光插座底盒，人工工费。含室内电缆",35]
[2,"水路改造","项",900,null,null,"金牛ppr冷人热水健康管材，人工工费及部分龙头。",20]
[3,"开关插座","平米",900,null,null,"德力西开关插座含安装人工工费。"]
[4,"灯具","套",50,null,null,"成品配套灯具，安装工费及辅料。"]
[5,"配电箱","套",1,null,null,"增加空开"]
[6,"垃圾清运费","平米",900,null,null,"垃圾清理及运输费用。"]
[7,"材料运费","平米",900,null,null,"材料进场费用，含人工。",12]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
[null,null,"一层合计：",null,null,{"v":0,"d":"0.00"}]
[null,"二层"]
["十","二楼通道"]
[1,"哑口套","米",12.4,null,null,"木工板基材，大理石加工哑口套及安装",720]
[2,"地面瓷砖及贴砖","平米",297.2,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[3,"石膏板吊顶","平米",297.2,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[4,"通道包柱打底找平","平米",146,null,null,"欧松板，石膏板打底找平。",120]
[5,"通道墙面找平","平米",156,null,null,"欧松板，石膏板打底找平。",120]
[6,"顶面基层处理及乳胶漆","平米",297.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"墙面基层处理及乳胶漆","平米",378.7,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[8,"窗套","米",58,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[9,"窗台板","米",22,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[10,"二楼玻璃隔断","平米",28.5,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[11,"踢脚线","米",108.2,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["十一","二层卫生间"]
[1,"哑口套","米",7.9,null,null,"与门同材质、成品垭口定制、安装人工工费及辅料。"]
[2,"卫生间门","套",2,null,null,"成品定制套装门，五金锁具安装及人工工费。"]
[3,"地面瓷砖及贴砖","平米",30.7,null,null,"品牌大理石瓷砖（600*1200）。沙子水泥、人工及辅料。"]
[4,"墙面瓷砖及贴砖","平米",125.1,null,null,"品牌大理石瓷砖（600*1200）。沙子水泥、人工及辅料。"]
[5,"洗面台","米",2.2,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[6,"水龙头","套",2,null,null,"箭牌卫浴，成品配套洁具。"]
[7,"洗手池","套",2,null,null,"箭牌卫浴，成品配套洁具。"]
[8,"隔断","平米",16.8,null,null,"成品防潮板现场加工，含五金配件，人工及辅料。"]
[9,"蹲便器","套",2,null,null,"箭牌卫浴，成品配套洁具。",960]
[10,"坐便器","套",2,null,null,"箭牌卫浴，成品配套洁具。",1800]
[11,"铝扣板吊顶","平米",30.7,null,null,"成品铝扣板吊顶，配套灯饰，安装人工工费及辅料。600*600"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["十二","二楼精密仪器室"]
[1,"肯德基玻璃门","平米",10.2,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"玻璃隔断","平米",80.5,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",111.2,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",111.2,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"顶面基层处理及乳胶漆","平米",111.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",39.8,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"踢脚线","米",11.8,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["十三","二楼中心化验室"]
[1,"肯德基玻璃门","平米",10.2,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"玻璃隔断","平米",66.5,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",262.9,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",262.9,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"顶面基层处理及乳胶漆","平米",262.9,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",161.4,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"窗套","米",40.6,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[8,"窗台板","米",15.4,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[9,"踢脚线","米",11.8,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["十四","楼梯间"]
[1,"地面瓷砖及贴砖","平米",21.9,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[2,"踏步台大理石粘贴","平米",98.5,null,null,"成品大理石。沙子水泥、人工及辅料。"]
[3,"石膏板吊顶","平米",136,null,null,"方管框架，石膏板、轻钢龙骨、人工及辅料。"]
[4,"顶面基层处理及乳胶漆","平米",37.9,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[5,"墙面基层处理及乳胶漆","平米",235.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"踢脚线","米",88.2,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[7,"楼梯扶手","米",22,null,null,"成品铝合金楼梯扶手加工，成品钢化玻璃，立柱，人工及辅材。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["十五","钢结构实验室"]
[1,"地面瓷砖","平米",257,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[2,"顶面吊顶","平米",257,null,null,"成品蜂窝大板。规格600*900"]
[3,"顶面灯饰","套",20,null,null,"铝扣板配套灯饰及辅助灯光。"]
[4,"墙面钢化玻璃隔断","平米",148,null,null,"单层钢化玻璃隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[5,"水路改造","平米",257,null,null,"众邦电线，穿线管，开光插座底盒，人工工费。含室内电缆",35]
[6,"电路改造","平米",257,null,null,"金牛ppr冷人热水健康管材，人工工费及部分龙头。",20]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["十六","综合"]
[1,"电路改造","平米",900,null,null,"众邦电线，穿线管，开光插座底盒，人工工费。含室内电缆",35]
[2,"水路改造","项",900,null,null,"金牛ppr冷人热水健康管材，人工工费及部分龙头。",20]
[3,"开关插座","平米",900,null,null,"德力西开关插座含安装人工工费。"]
[4,"灯具","套",50,null,null,"成品配套灯具，安装工费及辅料。"]
[5,"配电箱","套",1,null,null,"增加空开"]
[6,"垃圾清运费","平米",900,null,null,"垃圾清理及运输费用。"]
[7,"材料运费","平米",900,null,null,"材料进场费用，含人工。",12]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
[null,null,"二层合计：",null,null,{"v":0,"d":"0.00"}]
[null,"三层"]
["十七","会议室"]
[1,"会议室门","套",1,null,null,"成品定制套装门，五金锁具安装及人工工费。（双开门配大铜拉手）"]
[2,"玻璃隔断","平米",40.3,null,null,"双层中空层钢化玻璃内置百叶隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",105,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",105,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"会议室柱子打底找平","平米",62,null,null,"欧松板，石膏板打底找平。",120]
[6,"会议室墙面打底找平","平米",104,null,null,"欧松板，石膏板打底找平。",120]
[7,"顶面基层处理及乳胶漆","平米",105,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[8,"墙面基层处理及乳胶漆","平米",108.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[9,"背景墙及顶面造型","平米",59,null,null,"木工板，木龙骨，石膏板做造型"]
[10,"窗套","米",23.2,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[11,"窗台板","米",8.8,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[12,"踢脚线","米",21.9,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["十八","三层卫生间"]
[1,"哑口套","米",7.9,null,null,"与门同材质、成品垭口定制、安装人工工费及辅料。"]
[2,"卫生间门","套",2,null,null,"成品定制套装门，五金锁具安装及人工工费。"]
[3,"地面瓷砖及贴砖","平米",30.7,null,null,"品牌大理石瓷砖（600*1200）。沙子水泥、人工及辅料。"]
[4,"墙面瓷砖及贴砖","平米",110.9,null,null,"品牌大理石瓷砖（600*1200）。沙子水泥、人工及辅料。"]
[5,"洗面台","米",3,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[6,"水龙头","套",3,null,null,"箭牌卫浴，成品配套洁具。"]
[7,"洗手池","套",3,null,null,"箭牌卫浴，成品配套洁具。"]
[8,"隔断","平米",19.6,null,null,"成品防潮板现场加工，含五金配件，人工及辅料。"]
[9,"蹲便器","套",2,null,null,"箭牌卫浴，成品配套洁具。",960]
[10,"坐便器","套",2,null,null,"箭牌卫浴，成品配套洁具。",1800]
[11,"小便器","套",1,null,null,"箭牌卫浴，成品配套洁具。",880]
[12,"铝扣板吊顶","平米",30.7,null,null,"成品铝扣板吊顶，配套灯饰，安装人工工费及辅料。600*600"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["十九","三层过道"]
[1,"地面瓷砖及贴砖","平米",126.2,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[2,"石膏板吊顶","平米",126.2,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[3,"顶面基层处理及乳胶漆","平米",126.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[4,"墙面基层处理及乳胶漆","平米",182.1,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[5,"窗套","米",5.8,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[6,"窗台板","米",2.2,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[7,"踢脚线","米",56.9,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二十","综合办公室"]
[1,"玻璃隔断","平米",52.5,null,null,"双层中空层钢化玻璃内置百叶隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"地面瓷砖及贴砖","平米",107.7,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[3,"石膏板吊顶","平米",107.7,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[4,"会议室柱子打底找平","平米",71.2,null,null,"欧松板，石膏板打底找平。",120]
[5,"顶面基层处理及乳胶漆","平米",107.7,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",64,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"窗套","米",17.4,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[8,"窗台板","米",6.6,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[9,"窗台储藏柜","平米",10.4,null,null,"双面板现场制作，含柜体、门板、五金人工工费及辅料。"]
[10,"踢脚线","米",17.2,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二一","董事长办公室"]
[1,"双开门","套",1,null,null,"成品定制套装门，五金锁具安装及人工工费。（双开门配大铜拉手）"]
[2,"玻璃隔断","平米",21.4,null,null,"双层中空层钢化玻璃内置百叶隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",57.8,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",57.8,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"柱子打底找平","平米",17.2,null,null,"欧松板，石膏板打底找平。",120]
[6,"顶面基层处理及乳胶漆","平米",57.8,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"墙面基层处理及乳胶漆","平米",69.5,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[8,"窗套","米",11.6,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[9,"窗台板","米",4.4,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[10,"玄关造型","项",1,null,null,"按效果图施工"]
[11,"书柜","平米",16.8,null,null,"双面板现场制作，含柜体、门板、五金人工工费及辅料。"]
[12,"沙发背景墙造型","项",1,null,null,"按效果图施工"]
[13,"踢脚线","米",18,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[14,"休息室门","套",1,null,null,"成品定制套装门，五金锁具安装及人工工费。"]
[15,"休息室地面瓷砖及贴砖","平米",13.9,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[16,"休息室石膏板吊顶","平米",13.9,null,null,"石膏板、轻钢龙骨、人工及辅料。","不做吊顶"]
[17,"休息室顶面基层处理及乳胶漆","平米",13.9,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[18,"休息室墙面基层处理及乳胶漆","平米",44.8,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[19,"休息室窗套","米",5.8,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[20,"休息室窗台板","米",2.2,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[21,"休息室踢脚线","米",14,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二二","总经理办公室"]
[1,"双开门","套",1,null,null,"成品定制套装门，五金锁具安装及人工工费。（双开门配大铜拉手）"]
[2,"玻璃隔断","平米",21.4,null,null,"双层中空层钢化玻璃内置百叶隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",57.8,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"柱子打底找平","平米",16.6,null,null,"欧松板，石膏板打底找平。",120]
[5,"石膏板吊顶","平米",57.8,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[6,"顶面基层处理及乳胶漆","平米",57.8,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"墙面基层处理及乳胶漆","平米",69.5,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[8,"窗套","米",11.6,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[9,"窗台板","米",4.4,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[10,"玄关造型","项",1,null,null,"按效果图施工"]
[11,"书柜","平米",16.8,null,null,"双面板现场制作，含柜体、门板、五金人工工费及辅料。"]
[12,"沙发背景墙造型","项",1,null,null,"按效果图施工"]
[13,"踢脚线","米",18,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二三","经理办公室"]
[1,"肯德基玻璃门","平米",5.1,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"玻璃隔断","平米",10.9,null,null,"双层中空层钢化玻璃内置百叶隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",18.9,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",18.9,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"顶面基层处理及乳胶漆","平米",18.9,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",28.8,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"书柜","平米",12.6,null,null,"双面板现场制作，含柜体、门板、五金人工工费及辅料。"]
[8,"踢脚线","米",8.8,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[9,"休息室门","套",1,null,null,"成品定制套装门，五金锁具安装及人工工费。"]
[10,"休息室地面瓷砖及贴砖","平米",18.9,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[11,"休息室石膏板吊顶","平米",18.9,null,null,"石膏板、轻钢龙骨、人工及辅料。","125(不做吊顶)"]
[12,"休息室顶面基层处理及乳胶漆","平米",18.9,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[13,"休息室墙面基层处理及乳胶漆","平米",42.4,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[14,"休息室窗套","米",5.8,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[15,"休息室窗台板","米",2.2,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[16,"休息室踢脚线","米",13.2,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二四","主管办公室一"]
[1,"肯德基玻璃门","平米",2.6,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"玻璃隔断","平米",14.4,null,null,"双层中空层钢化玻璃内置百叶隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",20.3,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",20.3,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"顶面基层处理及乳胶漆","平米",20.3,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",14.4,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"书柜","平米",12.6,null,null,"双面板现场制作，含柜体、门板、五金人工工费及辅料。"]
[8,"踢脚线","米",4.5,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二五","主管办公室二"]
[1,"肯德基玻璃门","平米",2.6,null,null,"肯德基玻璃门、成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[2,"玻璃隔断","平米",14.4,null,null,"双层中空层钢化玻璃内置百叶隔断，成品型材加工，钢化玻璃及配件。安装费用及辅料。"]
[3,"地面瓷砖及贴砖","平米",20.3,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。"]
[4,"石膏板吊顶","平米",20.3,null,null,"石膏板、轻钢龙骨、人工及辅料。"]
[5,"顶面基层处理及乳胶漆","平米",20.3,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[6,"墙面基层处理及乳胶漆","平米",28.8,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[7,"书柜","平米",12.6,null,null,"双面板现场制作，含柜体、门板、五金人工工费及辅料。"]
[8,"窗套","米",5.8,null,null,"窗套与门同材质、成品定制窗套，安装工费及辅料。"]
[9,"窗台板","米",2.2,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[10,"踢脚线","米",4.5,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二六","排烟机房及配电室"]
[1,"地面瓷砖及贴砖","平米",51.2,null,null,"品牌大理石瓷砖（750*1500）。沙子水泥、人工及辅料。",165]
[2,"门","套",3,null,null,"成品定制套装门，五金锁具安装及人工工费。"]
[3,"顶面基层处理及乳胶漆","平米",51.2,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[4,"墙面基层处理及乳胶漆","平米",175.7,null,null,"基层处理，接缝带填充，腻子粉找平打磨平整，人工及辅料。立邦乳胶漆（成品）"]
[5,"踢脚线","米",54.9,null,null,"成品不锈钢踢脚线、安装人工工费及辅料。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
["二七","综合"]
[1,"电路改造","平米",900,null,null,"众邦电线，穿线管，开光插座底盒，人工工费。含室内电缆",35]
[2,"水路改造","项",900,null,null,"金牛ppr冷人热水健康管材，人工工费及部分龙头。",20]
[3,"开关插座","平米",900,null,null,"德力西开关插座含安装人工工费。"]
[4,"灯具","套",60,null,null,"成品配套灯具，安装工费及辅料。"]
[5,"配电箱","套",1,null,null,"增加空开"]
[6,"垃圾清运费","平米",900,null,null,"垃圾清理及运输费用。"]
[7,"材料运费","平米",900,null,null,"材料进场费用，含人工。",12]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]
[]
[{"$nulls":7},45]

{"sheet":"车间瓷砖","index":1,"n_rows":14,"n_cols":8,"rows_kept":14,"merged":[[0,0,1,6],[13,3,13,4],[14,2,14,4],[15,2,15,4],[16,2,16,4],[17,2,17,4]],"flags":["formulas_cached_only"]}
["兰州甘味乳业车间瓷砖清单"]
[]
["序号",null,"单位","数量","综合单价","单项合价","备注说明"]
["一","车间瓷砖铺贴"]
[1,"地面瓷砖","平米",1538,null,null,"沙子水泥人工及辅料，包含主材瓷砖 规格600*600。",110]
[2,"卫生间墙面瓷砖","平米",357,null,null,"沙子水泥人工及辅料，包含主材瓷砖 规格300*600。",110]
[3,"卫生间地面瓷砖","平米",124,null,null,"沙子水泥人工及辅料，包含主材瓷砖 规格300*300。",110]
[4,"通道墙砖","平米",260,null,null,"沙子水泥人工及辅料，包含主材瓷砖 规格300*600。",110]
[5,"卫生间墩台","个",21,null,null,"红砖堆砌，材料及人工。"]
[6,"蹲便器","套",21,null,null,"品牌蹲便器，水箱，管件，安装费用。"]
[7,"卫生间隔断","个",21,null,null,"抗倍特防潮板，五金配件，加工费，人工及辅料。"]
[8,"洗手台","米",6.6,null,null,"成品岗石现场加工安装。材料及安装工费。"]
[9,"洗手池","套",6,null,null,"品牌洗手池。"]
[{"$nulls":3},"小计：",null,{"v":0,"d":"0.0"}]