{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet3"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":50,"n_cols":7,"rows_kept":50,"merged":[[0,0,1,6],[17,3,17,4],[25,3,25,4],[33,3,33,4],[42,3,42,4]]}
["甘味乳业车间连廊及配套装修项目清单"]
[]
["序号",null,"单位","数量","单价","单项合价","备注说明"]
["一","车间通道施工项目"]
[1,"通道地胶","平米",3612,null,null,"品牌成品同质透心地胶，人工及辅料。"]
[2,"通道自流平","平米",3612,null,null,"环氧地坪涂料，基层打磨，人工及辅料。"]
[3,"地胶配套踢脚线","米",983.2,null,null,"成平配套弧形踢脚线。"]
[4,"通道玻璃隔断","平米",787.6,null,null,"方管框架，304不锈钢附面，双层6＋6夹胶超白钢化玻璃。"]
[5,"通道护栏及玻璃隔断不锈钢","米",712,null,null,"304无指纹不锈钢，辅料及人工。"]
[6,"通道护栏 ","米",376,null,null,"6＋6双层夹胶，1.4米高钢化玻璃，成品不锈钢立柱，木质扶手。"]
[7,"坎墙及深根预埋","米",593.2,null,null,"100*100方管及1.0钢板预埋件。"]
[8,"通道方通吊顶","平米",1633,null,null,"成品木纹方通吊顶，人工及辅料。"]
[9,"方通吊顶配套条形灯","平方",1633,null,null,"成平配套方通条形灯。"]
[10,"通道吊顶方管下接","平米",2014,null,null,"吊顶区域下接，方管及人工辅料。"]
[11,"通道大厅石膏板吊顶","平米",258,null,null,"石膏板吊顶，轻钢龙骨及辅料，人工费用。"]
[12,"筒灯及辅助灯光","平米",1633,null,null,"成品筒灯及部分辅助灯光。"]
[13,"吊顶部分电路改造","平米",1633,null,null,"电路改造。众邦电线及辅料人工费用。"]
[{"$nulls":3},"小计：",null,{"$f":"SUM(F5:F17)","v":{"v":0,"d":"0.0"}}]
["序号",null,"单位","数量","单价","单项合价","备注说明"]
["二","中控室室内装修"]
[1,"石膏板吊顶","平米",196,null,null,"钢结构下接，石膏板造型吊顶，含氛围灯及筒灯。人工及辅料。"]
[2,"包立柱","平米",130,null,null,"造型石膏板立柱，人工及辅料，"]
[3,"中控室玻璃门","平米",7.98,null,null,"型材钢化玻璃门。"]
[4,"背景墙造型","平米",39.6,null,null,"造型石膏板背景墙，含配套灯饰。"]
[5,"地面地胶","平米",196,null,null,"品牌成品同质透心地胶，人工及辅料。"]
[{"$nulls":3},"小计：",null,{"$f":"SUM(F21:F25)","v":{"v":0,"d":"0.0"}}]
["二","门房施工项目"]
[1,"南面门房地面瓷砖","平米",57,null,null,"沙子水泥，瓷砖磨边，人工及辅料。"]
[2,"玻璃幕墙","平米",52.5,null,null,"中空钢化玻璃，玻璃幕墙胶，钢结构，人工及辅料。"]
[3,"墙面顶面基层处理","米",187.6,null,null,"石膏粉，腻子粉找平，打磨，人工及辅料。"]
[4,"墙面顶面乳胶漆","平米",187.6,null,null,"立邦成品乳胶漆喷涂，人工及辅料。"]
[5,"吸顶灯","套",4,null,null,"成品灯饰安装，人工及辅料。"]
[6,"北面门房地面瓷砖","平米",68,null,null,"沙子水泥，瓷砖磨边，人工及辅料。"]
[{"$nulls":3},"小计：",null,{"$f":"SUM(F28:F33)","v":{"v":0,"d":"0.0"}}]
["序号",null,"单位","数量","单价","单项合价","备注说明"]
["三","广告牌"]
[1,"党建牌","平米",23,null,null,"镀锌铁皮，烤漆覆面，定制造型，人工及辅料。"]
[2,"党建牌基座","m³",5.9,null,null,"基坑，预埋件，混凝土，人工及辅料。"]
[3,"党建牌基座石材","平米",16,null,null,"芝麻白花岗岩加工，人工及辅料。"]
[4,"广告牌制作","平米",78.6,null,null,"钢结构框架，广告专用烤漆覆面，人工及辅料。"]
[5,"广告牌基座","项",1,null,null,"基坑，预埋件，混凝土，人工及辅料。"]
[6,"uv画面制作","平米",84.9,null,null,"PVC，uv画面制作。安装人工费用。"]
[{"$nulls":3},"小计：",null,{"$f":"SUM(F37:F42)","v":{"v":0,"d":"0.0"}}]
["序号",null,"单位","数量","单价","单项合价","备注说明"]
["四","广场旗台及绿化"]
[1,"旗台基座","平米",6.72,null,null,"基坑，预埋件，混凝土，人工及辅料。"]
[2,"旗台石材","平米",15.53,null,null,"中国红花岗岩加工，人工及辅料。"]
[3,"办公楼门口踏步台","平米",143.4,null,null,"芝麻白花岗岩加工，人工及辅料。"]
[4,"广场火烧板","平米",47.4,null,null,"芝麻白花岗岩加工，人工及辅料。"]
[5,"广场路牙石","米",22,null,null,"芝麻白花岗岩路牙石加工，人工及辅料。"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}